## Site details
DG services Relocation ( DG relocation and earthing installation)
# | Dist (KM) from originating to destination sites (till last road pt.) | DG capacity | DG & Erthing material wt (Kg) | Site Detail | Region | PC/CC | Site Name | Rd. accessible to site | Without Headload (Time From the nearest roadpoint) | Dist from nearest roadpoint KM | Return Of old DG till nearest roadpoint) | DG shed/platform | DG I&C | Earthing I&C
1 | 15 km | 20 Kva | 1300 | From | CR | Sarpang | GMC site | NO | 10 mins | 300 m | Yes (20 KVA DG) | not required | Yes | No
|  |  |  | To | CR | Zhemgang | Lower Phawa | NO | 15 mins | 2 km
2 | 337 Km | 20 Kva | 1300 | From | ER | Mongar | Thalabang | NO | 20 mins | 700 m | Yes ( 30 Kva DG) | required | Yes | No
|  |  |  | To | WR | Wangdue | Pelela II | YES | NA | NA
3 | 62 Km | 20 Kva | 1300 | From | SWR | Samtse | Sansidara | NO | 20 mins | 1 km | Yes (15KVa DG) | not required | Yes | No
|  |  |  | To | SWR | Samtse | Mecheytar | NO | 15 mins | 2 km
4 | 59 Km. | 20 Kva | 1300 | From | SWR | Samtse | Nakha | NO | 10 mins | 500 m | No | required | Yes | No
|  |  |  | To | SWR | Samtse | Nidupling | NO | 20 mins | 2 Km
5 | 102 Km | 20 Kva | 1300 | From | ER | Mongar | Sangor | YES | 30 mins | 2 Km | Yes (15KVa DG) | required | No | No
|  |  |  | To | ER | Lhuentse | Kakaling | YES | 15 mins | 0.5 Km
6 | 260 Km | 20 Kva | 1300 | From | ER | T/Gang | Khalong | YES | 5 mins | 200 mtrs. | Yes ( 7.5 Kva DG) | not required | No | No
|  |  |  | To | ER | Lhuentse | Dungkar | YES | 30 mins | 2 km
7 | 15 km | 20 Kva | 1300 | From | ER | S/jongkhar | Sukuni | NO | 5 mins | 200Meter | Yes (20 KVA DG) | required | Yes | No
|  |  |  | To | ER | S/jongkhar | S/choling | YES | 5 mns | 30 m
8 | 70 km | 20 Kva | 1300 | From | ER | T/Gang | Yonphupam | NO | 20 mins | 12 mins | Yes (15KVa DG) | not required | No | No
[5 empty] | ER | T/Gang | Dzongthung | NO | 5 mins | 200 m
9 | 106 km | 20 Kva | 1300 | To | ER | T/Gang | Sakten | YES | 10mins | 10 mins | NO | required | Yes | No
[5 empty] | ER | T/yangtse | Khetsang | NO | 15 mins | 700 m
DG services ( New )
| Region | PC/CC | Site name | DG capacity | Shed / Platform | Road accessible to site (Yes/No) | Time ( Without Headload (From the nearest roadpoint)) | Distance from main road KM(Approx) | DG & Erthing material weight Weight (Kg) | I&Cof DG | I&C of Earthing | Transportation from roadpoint to site | Return of old DG | Note: These 4 nos. DG(New) will be trapnsported to last road point by BTL
| WR | Paro | Khangkhu | 30kVA,1Ph | Required | YES | 10 mins | 100m | 1400 | YES | NO | YES | NO
| SWR | P/ling | Lhamoizingkha | 45kVA, 3Ph | Required | YES | 5 muns | 50m | 1600 | YES | NO | YES | NO
|  | P/ling | Paachu | 30kVA,1Ph | Required | NO | 30 Mins | 1500m | 1400 | YES | NO | YES | NO
|  | Samtse | Samtse Exchange | 60kVA, 3Ph | Not Required | YES | 5 Mins | 50 m | 1800 | YES | NO | YES | NO

## Scope of work
Scope of Work:DG Services
The vendor shall carry out the following works for Diesel Generator (DG) services at the sites specified in the BOQ:
1. Transportation
Transportation of DG sets and associated materials from originating sites/PCs/warehouses to destination sites.
Transportation from the nearest road point to the site including manual head-load where road access is not available.
Safe loading, unloading and handling of equipment.
2. Dismantling and Relocation of old DG ( If applicable)
Dismantling of existing DGs from current sites.
Packing, shifting and relocation to the designated warehouse/sites.
Return of old DGs to the nearest road point or designated PC where applicable.
3. Installation
Installation of DG sets on existing platforms or sheds where required.
Mechanical installation, alignment and fixing of DG units.
Electrical termination of power and control cables.
4. Testing and Commissioning
Testing and commissioning of DG sets after installation.
Test run and verification of operational parameters.