## Communicable
LOT 5: GUARANTEED TECHNICAL PARTICULARS
OVERHEAD FAULT PASSAGE INDICATORS (COMMUNICABLE)
Sl# | DESCRIPTION | Units | To be filled up Bidders
A | Application
1 | Manufacturer
2 | Distribution Network Voltage | kV
3 | Power Frequency | Hz
4 | Short circuit Withstand | kA/ms
5 | HV Neutral Arrangement
6 | Cable Diameter | mm
B | Fault detection Parameters
9 | Current setting Trigger value | A
10 | Low earth leakage fault detection setting | A
11 | Permanent Fault Verification time | sec
12 | Inrush Restraint | sec
13 | Automatic reset time | sec
C | Reset (Permanent Fault)
14 | Automatic Power Return | Yes/No
15 | Timer Reset | Yes/No
16 | Manual Reset medium | Yes/No
17 | Remote Reset | Yes/No
D | Fault indication
18 | Indication
19 | Light Power | Lumens
20 | Visibility Angle | Degree
21 | Flash Period for permanent faults | Sec

## non-communicable
LOT 5: GUARANTEED TECHNICAL PARTICULARS
OVERHEAD FAULT PASSAGE INDICATORS (NON-COMMUNICABLE)
SL# | DESCRIPTION | Units | To be filled up Bidders
A | Application
1 | Manufacturer
2 | Distribution Network Voltage | kV
3 | Power Frequency | Hz
4 | Short circuit Withstand | kA/ms
5 | HV Neutral Arrangement
6 | Cable Diameter | mm
B | Fault detection Parameters
9 | Current setting Trigger value | A
10 | Low earth leakage fault detection setting | A
11 | Permanent Fault Verification time | sec
12 | Inrush Restraint | sec
13 | Automatic reset time | sec
C | Reset (Permanent Fault)
14 | Automatic Power Return | V
15 | Timer Reset | min
16 | Magnet Reset | Yes/No
17 | Remote Reset | Yes/No
D | Fault indication
18 | Indication
19 | Light Power | Lumens
20 | Visibility Angle | Degree
21 | Flash Period for permanent faults | Sec