## With Change over Switfch
GUARANTEED TECHNICAL PARTICULAR FOR
Item # 1: 3P, 800 A Distribution Pillar with Change over Switch
SL. No | Parameters | Unit | To be filled up by bidders
1 | Name of Manufacturer and country
2 | Applicable standards
3 | Rated short time withstand current | kA
4 | Rated Voltage | V
5 | Rated Frequency | Hz
6 | No. of phases
7 | Clearances Phase to phase (TO BE ALTITUDE CORRECTED AT 2400M)
8 | Clearances between live parts and earth (TO BE ALTITUDE CORRECTED AT 2400M)
9 | Type and thickness of sheet steel (hot/ cold rolled) Frame/Doors/Covers
10 | HRC Cartridge fuse used
11 | Fuse rupturing capacity | kA
12 | Degree of protection of Enclosure
13 | Colour finish shade of Pillar
Interior
Exterior
Bus Bars
1 | Material
2 | Cross section
3 | Rated normal current of busbars | A
4 | Rated short time withstand current and time | kA
5 | Material of the support insulators | mm
Change over Switch
1 | Rated Current (A) | A
2 | Rated Impulse Withstand Voltage (Uimp) | kV
3 | Rated Insulation Voltage (Ui): | V
4 | Rated Short-Circuit Making Capacity (Icm) (kA) | kA
5 | Rated Short-time Withstand Current (Icw) for 1 second (kArms) | (kArms)
6 | Pole
7 | Handle Type
8 | Handle IP
9 | Fourth Pole Position
10 | Switches Operating Mechanism

## with MCCB
GUARANTEED TECHNICAL PARTICULAR FOR
Item#2: 3P, 800 A Distribution Pillar with MCCB
SL. No | Parameters | Unit | To be filled up by bidders
1 | Name of Manufacturer and country
2 | Applicable standards
3 | Rated short time withstand current | kA
4 | Rated Voltage | V
5 | Rated Frequency | Hz
6 | No. of phases
7 | Clearances Phase to phase (TO BE ALTITUDE CORRECTED AT 2400M)
8 | Clearances between live parts and earth (TO BE ALTITUDE CORRECTED AT 2400M)
9 | Type and thickness of sheet steel (hot/ cold rolled) Frame/Doors/Covers
10 | HRC Cartridge fuse used
11 | Fuse rupturing capacity | kA
12 | Degree of protection of Enclosure
13 | Colour finish shade of Pillar
Interior
Exterior
Bus Bars
1 | Material
2 | Cross section
3 | Rated normal current of busbars | A
4 | Rated short time withstand current and time | kA
5 | Material of the support insulators | mm
Moulded Case Circuit Braeker
1 | Make
2 | Number of poles
3 | Breaking Capacity | kA
4 | Rated Current | A