## oil pump
Lot 3: Electrical Equipment
1. Guaranteed Technical Particular (GTP) to be filled by the bidders For oil pump ( ref : technical specifcation attached)
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Horsepower
2 | Max Flow Rate
3 | Power Cord
4 | Powered By
5 | Power Requirements
6 | Speed
7 | Temperature Limit
8 | Weight
9 | Composition
10 | Included accessories

## HT coil wind semi auto
Lot 3: Electrical Equipment
2. Guaranteed Technical Particular (GTP) to be filled by bidders for HT coil winding machine semi auto) refer: technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Coil diameter
2 | Coil Length
3 | Wire Size
4 | Conductor type
5 | Coil weight
6 | Component loading height
7 | No of turns
HEAD STOCK
8 | Distance between centers
9 | Winding spindle speed
10 | Spindle Motor
TAIL STOCK
11 | Tail stock
12 | Axial movement of the tail stock centre
TENSION CONTROL
13 | Wire Tensioner
TRAVERSE
14 | Traverse stroke length
INSULATION PAPER
15 | Insulation paper width
16 | Insulation paper thickness
17 | No of paper fidders
18 | Paper feeder mounting
19 | Plain roller with both sides flange for end fill paper
20 | Inner dia of paper spool
21 | Outer dia of paper spool
PAPER FEEDER
22 | Feed mechanism
23 | Paper length feeding
PAPER CUTTER
24 | Cutter Mechanism
25 | CONTROLLER
25 | UTILITIES
26 | Power Supply
27 | Power Consumption
28 | Dimensions
29 | Weight
30 | Included accessories

## HT coil winding mc manual
Lot 3: Electrical Equipment
3. Guaranteed Technical Particular (GTP) to be filled by bidders for HT coil winding machine (Manual ) ref: technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Type of Machine
2 | Power Supply
3 | Capacity
4 | Winding Motor Power
5 | Max Speed
6 | Body Material
7 | Usage/Application
8 | Included accessoried

## LT Hv test kit 3kV
Lot 3: Electrical Equipment
4. Guaranteed Technical Particular (GTP) to be filled by bidders for LT High Voltage test Kit (up to 3kV) ref: technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Input Supply to Tester
2 | Minimum Test Voltage
3 | Maximum Test Voltage
4 | Minimum Trip Current
5 | Maximum Trip Current
6 | Accuracy of Test Voltage
7 | Accuracy of Current Measurement
8 | Included accessories

## 3p resistance test kit
Lot 3: Electrical Equipment
5. Guaranteed Technical Particular (GTP) to be filled by bidders for 3P Transformer DC resistance test kit (MTO210 Megger) ref: technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Transformer volt, Hz input
2 | Input:
3 | DC Output
User Selectable Current Ranges:
Open-Circuit Test Voltage:
Measurement Voltage:
Max Power:
4 | Resistance Measurement/Display
Resistance:
5 | Typical accuracy:
6 | Guaranteed accuracy:
7 | Resolution:
8 | Displays
9 | User Interface
10 | Computer Interface (for downloading results)
11 | Internal Data Storage
12 | Environmental
i | Operating:
ii | Storage:
iii | Relative Humidity:
iv | Ingress Protection (lid closed):
13 | Safety
14 | Dimensions
15 | Weight
16 | Included Accessories

## DGA
Lot 3: Electrical Equipment
6. Guaranteed Technical Particular (GTP) to be filled by bidders for Portable DGA (Dissolved Gas Analysis) Test Kit. Ref technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | LCD Size:
2 | LCD Type:
3 | Screen Resolution:
4 | Computer interface:
5 | Measurement Download:
6 | Log file Retrieval:
7 | Output:
8 | Hardcopy:
10 | MEASUREMENT RANGE
i | Hydrogen (H₂):
ii | Carbon Monoxide (CO):
iii | Carbon Dioxide (CO₂):
iv | Methane (CH₄):
v | Acetylene (C₂H₂):
vi | Ethane (C₂H₆):
vii | Ethylene (C₂H₄):
viii | Measurement Accuracy:
ix | Moisture (H₂O):
x | Moisture in Oil Accuracy
11 | ENVIRONMENT
i | Operating Ambient Temperature:
ii | Operating Altitude Maximum:
iii | Operating Pressure:
iv | Operating Humidity:
v | Power Supply:
vi | Enclosure: IP67 (when closed) IP20 (when operating)
vii | Oil Sample Volume:
viii | Gas Sample Volume:
ix | Dimensions:
x | Weight:

## trans ratio tester
Lot 3: Electrical Equipment
7. Guaranteed Technical Particular (GTP) to be filled by bidders for Potable Battery Operated Transformer Trans Ratio Tester : Ref technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Type of Power
2 | Battery Life
3 | Charger input voltage
4 | Optional charger source
5 | Excitation voltage
6 | Test frequency
7 | Excitation current range
8 | Turns ratio range
9 | Phase deviation range
10 | Winding resistance range
11 | Transformer vector group
12 | Transformer polarity
13 | Current (rms) accuracy
14 | Phase deviation accuracy
15 | Turns Ratio accuracy

## trs drying oven
Lot 3: Electrical Equipment
8. Guaranteed Technical Particular (GTP) to be filled by bidders for Transformer Drying Oven : ref technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Transformer Drying Oven
2 | Heating Chamber.
3 | Support Structure
4 | Internal Wiring
5 | Temperature Sensing
6 | Control Scheme
7 | Material Handling trolley
8 | Control Panel.
9 | Cabinet
10 | Mains Switch
11 | Safety features
12 | Temp. control
13 | Air Handling Unit.
14 | Purpose
15 | Circulation
16 | Cooling
17 | Exhaust

## pry inj kit
Lot 3: Electrical Equipment
9. Guaranteed Technical Particular (GTP) to be filled by bidders for Pry injection Kit : Ref technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Output current
2 | Accuracy
3 | Resolution
4 | Timer
5 | Mains supply
6 | Operation
7 | Cooling
8 | Environment
9 | Dimension
10 | Weight
11 | Included Accessories

## breaker timeer analyer
Lot 3: Electrical Equipment
10. Guaranteed Technical Particular (GTP) to be filled by bidders for Breaker Timer Analyser : Ref technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Contact Channels
2 | Sampling Speed
3 | Trigger option
4 | Auxiliary Contacts
5 | Coil Current
6 | Contact Resistance
7 | Breaker Control
8 | Display
9 | Power
10 | Communication
11 | Environment
12 | Dimensions
13 | Instrument weight
14 | Included accessories

## IR tester 1okV
Lot 3: Electrical Equipment
11. Guaranteed Technical Particular (GTP) to be filled by bidders for Insulation resistance tester (IR) 10kV : Ref technical specifications attached
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | IR Tester type
2 | Output voltage (max)
3 | IR Testing resistance range (max)
4 | Accuracy (+- 5%)
5 | Screen
6 | Built in timer
7 | Weight
8 | Dimension
9 | Key Features:
10 | Included accessories

## inverter
Lot 3: Electrical Equipment
12. Guaranteed Technical Particular (GTP) to be filled by bidders for Inverter 5kVA )
S.No. | TECHNICAL SPECIFICATION | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | Capacity
2 | Power factor/frequency
3 | Phase
4 | Working input Voltage
5 | Out put volyage
6 | THD
7 | Wave
8 | Dynamic characteristic
9 | Recover time
10 | Over load
11 | efficiency
12 | General protection
13 | Communication
14 | Included ccessories

## vpn router
Lot 2: Telecommunication equipment
1. Guaranteed Technical Particular (GTP) to be filled by bidders for Lot 2, item 2 For 4 port VPN Router : ref technical specification attached
Sl. No. | PARTICULARS |  | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | NAME & ADDRESS OF MANUFACTURER.
2 | MATERIAL DESCRIPTION
3 | TECHNICAL SPECIFICATION
| a | Standards
| b | Ports
| c | Buttons
| d | Cabling type
| e | LEDs
| f | Operating system
Performance
| a | Network Address Translation (NAT) throughput
| b | SSL throughput
| c | Web user interface
Management
| a | SNMP version
| b | Event logging
| c | Web firmware upgrade
| d | Diagnostics
Security
| e | Encryption
| f | Access control
| g | Content filtering
| h | Denial of service (DoS)
| i | Secure managemen
Network
| j | VLAN support
| k | Dynamic Host Configuration Protocol (DHCP)
| l | DNS
| m | NAT
| n | Network edge (DMZ)
| o | VPN
| p | Routing
| q | Power
| r | Certification
| s | Operating temperature
| s | Storage temperature
| t | Operating humidity
| u | Storage humidity
4 | a | Package Contents

## 8port switch
Lot 2: Telecommunication equipment
2. Guaranteed Technical Particular (GTP) to be filled by bidders for Lot 2, item 1 switch 8 port : ref. technical specifications attached
Sl. No. | PARTICULARS |  | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | NAME & ADDRESS OF MANUFACTURER
2 | MATERIAL DESCRIPTION
3 | TECHNICAL SPECIFICATION
| a | Fixed Port
| b | POE Ports
| c | Console and USB Ports
| d | Cabling type
| e | Flash, DRAM
| f | Packet Buffer
| g | CPU
| h | Switching Capacity
| i | Forwarding Mode
| j | VLAN Support
| k | Power Supply
| l | Power Consumption (worst case)
| m | Certification
| n | Operating Temperature / Humidity
| o | Storage temperature / Humidity -
| p | Net weight
| q | Unit Dimension
| r | Warranty
4 |  | packaging contents

## fire fight
Lot 1: Fire Fighting Equipment
1. Guaranteed Technical Particular (GTP) to be filled by bidders for For Fire Fighting Equipment : ref: technical specifications attached
S.No. | PARTICULARS |  | TO BE FURNISHED BY BIDDER
[Insert Bidder's name here] :…………………………
1 | NAME & ADDRESS OF MANUFACTURER.
2 | MATERIAL DESCRIPTION
3 | TECHNICAL SPECIFICATION
| 1 | CAPACITY
| 2 | FIRE RATING
| 3 | EXTINGUISHING MEDIUM
| 4 | TEMPERATURE RANGE
| 5 | TEST PRESSURE
| 6 | DISCHARGE TIME
| 7 | DISCHARGE RANGE
| 8 | IS No. FOR Co2 GAS
| 9 | IS No. FOR MANUFACTURER